## Tabelle1
Column1 | Price/unit | Unit required | Cost |  |  | i | 0.07 | 0.07
PV panel cost (250 W) | 250 |  |  |  |  | life time | 25 | 20
Inverter cost (5.2kW) | [5 empty] | kW installed | 5 | 5
PV system FR (/W) | 2.7 | 5000 | 13500
PV system DE (/W) | 1.8 | 5000 | 9000
PV system IT (/W) | 1.9 | 5000 | 9500
PV system UK (/W) | 2.4 | 5000 | 12000
NREL 2017 Q1 (/W) - for PPs 10kW to 2 MW | 1.85 | 5000 | 9250
Market research (/kW) | 900 | 5 | 4500
From literature review - analysis of self-consumption… | 2.05 | 5000 | 10250
Other costs |  |  | 0
Year | Cost | Levelized cost | Production (kWh) | Levelized production
0 | 4500 | 4500
1 | 67.5 | 63.0841 | 6963.3 | 6507.757 | 6963.3
2 | 67.5 | 58.9571 | 6893.667 | 6021.1957 | 6914.5569 |  |  | 78.57%
3 | 67.5 | 55.1001 | 6824.7303 | 5571.0129 | 6866.155
4 | 67.5 | 51.4954 | 6756.483 | 5154.4886 | 6818.0919
5 | 67.5 | 48.1266 | 6688.9182 | 4769.1062 | 6770.3653
6 | 67.5 | 44.9781 | 6622.029 | 4412.5375 | 6722.9727
7 | 67.5 | 42.0356 | 6555.8087 | 4082.6282 | 6675.9119
8 | 67.5 | 39.2856 | 6490.2506 | 3777.385 | 6629.1805
9 | 67.5 | 36.7155 | 6425.3481 | 3494.9637 | 6582.7763
10 | 517.5 | 263.0708 | 6361.0946 | 3233.658 | 6536.6968
11 | 67.5 | 32.0688 | 6297.4837 | 2991.8891 | 6490.9399
12 | 67.5 | 29.9708 | 6234.5089 | 2768.1965 | 6445.5034
13 | 67.5 | 28.0101 | 6172.1638 | 2561.2285 | 6400.3848
14 | 67.5 | 26.1777 | 6110.4421 | 2369.7348 | 6355.5822
15 | 67.5 | 24.4651 | 6049.3377 | 2192.5584 | 6311.0931
16 | 67.5 | 22.8646 | 5988.8443 | 2028.6288 | 6266.9154
17 | 67.5 | 21.3688 | 5928.9559 | 1876.9556 | 6223.047
18 | 67.5 | 19.9708 | 5869.6663 | 1736.6225 | 6179.4857
19 | 67.5 | 18.6643 | 5810.9697 | 1606.7815 | 6136.2293
20 | 517.5 | 133.7318 | 5752.86 | 1486.6483 | 6093.2757
21 | 67.5 | 16.3021 | 5695.3314 | 1375.4971 | 6050.6228
22 | 67.5 | 15.2356 | 5638.3781 | 1272.6562 | 6008.2684
23 | 67.5 | 14.2389 | 5581.9943 | 1177.5043 | 5966.2105
24 | 67.5 | 13.3074 | 5526.1743 | 1089.4666 | 5924.447
25 | 67.5 | 12.4368 | 5470.9126 | 1008.0111 | 5882.9759
NPC = |  | 5631.6626 |  | 74567.1121
LC [€/kW/year]= |  | 96.6512
LCOE | 0.075525
Year | Cost | Levelized cost | Production (kWh) | Levelized production
0 | 9500 | 9500
1 | 142.5 | 133.1776 | 6963.3 | 6507.757
2 | 142.5 | 124.465 | 6914.5569 | 6039.4418
3 | 142.5 | 116.3224 | 6866.155 | 5604.8278
4 | 142.5 | 108.7126 | 6818.0919 | 5201.4897
5 | 142.5 | 101.6005 | 6770.3653 | 4827.1769
6 | 142.5 | 94.9538 | 6722.9727 | 4479.8006
7 | 142.5 | 88.7418 | 6675.9119 | 4157.4224
8 | 142.5 | 82.9363 | 6629.1805 | 3858.2434
9 | 142.5 | 77.5106 | 6582.7763 | 3580.5941
10 | 1092.5 | 555.3716 | 6536.6968 | 3322.9252
11 | 142.5 | 67.7007 | 6490.9399 | 3083.7988
12 | 142.5 | 63.2717 | 6445.5034 | 2861.8806
13 | 142.5 | 59.1324 | 6400.3848 | 2655.9322
14 | 142.5 | 55.264 | 6355.5822 | 2464.8043
15 | 142.5 | 51.6486 | 6311.0931 | 2287.4306
16 | 142.5 | 48.2697 | 6266.9154 | 2122.8211
17 | 142.5 | 45.1119 | 6223.047 | 1970.0573
18 | 142.5 | 42.1606 | 6179.4857 | 1828.2868
19 | 142.5 | 39.4024 | 6136.2293 | 1696.7185
20 | 142.5 | 36.8247 | 6093.2757 | 1574.6182
NPC = |  | 11492.5789 |  | 70126.0273
LC [€/kW/year]= |  | 216.9636
LCOE | 0.16388